## Slide 1: AES_Project_2021_2022
Politecnico di Milano
Automation and Control Engineering
Group’s Members:
Borgnino Michele
Crespi Davide Marco
Firetto Alessandro
Riva Alessandro

## Slide 2: Controlled system

## Slide 3: Heater model and tracking
Energy balance 
V: total volume of water in the network, wn = 0.5kg/s nominal flow rate
Try impose a Settling time (not exact, since the model is approximated) Ta = 10min
Ti = 1,145*10^3
K = 8,287

## Slide 4: Heater Temperature
Spikes are caused by switch between night and day

## Slide 5: Pump model
Pump: 
Pipe Network : 
Flow rate assumed equal in the whole network  Assumption
EQUILIBRIUM
Compute the equilibrium point for n, by imposing = 
Linearization 
«Albegraic model»  Hydraulics dynamics much faster than temperature, can be neglected
(in reality: G with τ very small)

## Slide 6: Pump Control
Use a PI =   dominant closed loop pole at 1/Ti
Design choices: Ta = 2500s  Ti = 500s (system settles quickly) K = 0,001 (to reduce oscillations)

## Slide 7: Zones model

## Slide 8: Zones set point tracking

## Slide 11: Control signals of each actuator

## Slide 12: Power consumption

## Slide 13: Individual power consumptions

## Slide 14
Model with the implementation of Day-Night Control

## Slide 15
Components of the logic switching system:

## Slide 16
Temperature tracking of zone 1

## Slide 17
Temperature tracking of zone 2

## Slide 18
Zone 1 Temperature tracking with different low limits
Low limit= 5+273,15K
Low limit= 7+273,15K